## oxidation
Detected mass | Class | FA_type | Subclass | adduct formed | Headgroup_Mass | Number_of_Chains | Number_of_ester_chains | C atoms in chains (actual) | db in chains | oxidation # of O | oxidation # of H | number of total carbons (calculated) | Mass of neutral oxidated species | 12 | 1.0078 | 15.9949 | 14.0031 | 30.9738 | 31.9721
318.2644 | Glycerolipids | Carbonyl | MAG | [M+NH4]+ | 91.0395 | 1 | 1 | 14 | 1 | 0 | 0 | 14 | 300.2301 | CONTROLS (0,0) – TESTED OK
556.4941 | Glycerolipids | Carbonyl | DAG | [M+NH4]+ | 90.0317 | 2 | 2 | 30 | 1 | 0 | 0 | 30 | 538.4597
1032.9898 | Glycerolipids | Carbonyl | TAG | [M+NH4]+ | 89.0239 | 3 | 3 | 63 | 1 | 0 | 0 | 63 | 1014.9554
1030.9742 | Glycerolipids | Carbonyl | TAG | [M+NH4]+ | 89.0239 | 3 | 3 | 63 | 2 | 0 | 0 | 63 | 1012.9398
662.4761 | Glycerophospholipids | Carbonyl | PE | [M+H]+ | 213.0402 | 2 | 2 | 30 | 1 | 0 | 0 | 30 | 661.4683
424.2464 | Glycerophospholipids | Carbonyl | LPE | [M+H]+ | 214.0481 | 1 | 1 | 14 | 1 | 0 | 0 | 14 | 423.2386
648.4968 | Glycerophospholipids | Plasmalogen | PE O- | [M+H]+ | 213.0402 | 2 | 1 | 30 | 1 | 0 | 0 | 30 | 647.489
634.5176 | Glycerophospholipids | Aliphatic | PE 2O- | [M+H]+ | 213.0402 | 2 | 0 | 30 | 1 | 0 | 0 | 30 | 633.5097
334.2593 | Glycerolipids | Carbonyl | MAG | [M+NH4]+ | 91.0395 | 1 | 1 | 14 | 1 | 1 | 0 | 14 | 316.225 | KETONES (0,1) – PENDING TEST
572.489 | Glycerolipids | Carbonyl | DAG | [M+NH4]+ | 90.0317 | 2 | 2 | 30 | 1 | 1 | 0 | 30 | 554.4546
1048.9847 | Glycerolipids | Carbonyl | TAG | [M+NH4]+ | 89.0239 | 3 | 3 | 63 | 1 | 1 | 0 | 63 | 1030.9504
1046.9691 | Glycerolipids | Carbonyl | TAG | [M+NH4]+ | 89.0239 | 3 | 3 | 63 | 2 | 1 | 0 | 63 | 1028.9347
678.471 | Glycerophospholipids | Carbonyl | PE | [M+H]+ | 213.0402 | 2 | 2 | 30 | 1 | 1 | 0 | 30 | 677.4632
440.2413 | Glycerophospholipids | Carbonyl | LPE | [M+H]+ | 214.0481 | 1 | 1 | 14 | 1 | 1 | 0 | 14 | 439.2335
664.4917 | Glycerophospholipids | Plasmalogen | PE O- | [M+H]+ | 213.0402 | 2 | 1 | 30 | 1 | 1 | 0 | 30 | 663.4839
650.5125 | Glycerophospholipids | Aliphatic | PE 2O- | [M+H]+ | 213.0402 | 2 | 0 | 30 | 1 | 1 | 0 | 30 | 649.5046
335.2672 | Glycerolipids | Carbonyl | MAG | [M+NH4]+ | 91.0395 | 1 | 1 | 14 | 1 | 1 | 1 | 14 | 317.2328 | ????
574.5047 | Glycerolipids | Carbonyl | DAG | [M+NH4]+ | 90.0317 | 2 | 2 | 30 | 1 | 1 | 2 | 30 | 556.4703 | HYDROXYLS (2,1) – PENDING TEST
1051.0004 | Glycerolipids | Carbonyl | TAG | [M+NH4]+ | 89.0239 | 3 | 3 | 63 | 1 | 1 | 2 | 63 | 1032.966
1048.9847 | Glycerolipids | Carbonyl | TAG | [M+NH4]+ | 89.0239 | 3 | 3 | 63 | 2 | 1 | 2 | 63 | 1030.9504
680.4866 | Glycerophospholipids | Carbonyl | PE | [M+H]+ | 213.0402 | 2 | 2 | 30 | 1 | 1 | 2 | 30 | 679.4788
442.257 | Glycerophospholipids | Carbonyl | LPE | [M+H]+ | 214.0481 | 1 | 1 | 14 | 1 | 1 | 2 | 14 | 441.2492
666.5074 | Glycerophospholipids | Plasmalogen | PE O- | [M+H]+ | 213.0402 | 2 | 1 | 30 | 1 | 1 | 2 | 30 | 665.4996
652.5281 | Glycerophospholipids | Aliphatic | PE 2O- | [M+H]+ | 213.0402 | 2 | 0 | 30 | 1 | 1 | 2 | 30 | 651.5203
589.4918 | Glycerolipids | Carbonyl | DAG | [M+NH4]+ | 90.0317 | 2 | 2 | 30 | 1 | 2 | 1 | 30 | 571.4574 | PEROXIDE RADICAL (1,2) – PENDING TEST
1065.9875 | Glycerolipids | Carbonyl | TAG | [M+NH4]+ | 89.0239 | 3 | 3 | 63 | 1 | 2 | 1 | 63 | 1047.9531
1063.9718 | Glycerolipids | Carbonyl | TAG | [M+NH4]+ | 89.0239 | 3 | 3 | 63 | 2 | 2 | 1 | 63 | 1045.9374
695.4737 | Glycerophospholipids | Carbonyl | PE | [M+H]+ | 213.0402 | 2 | 2 | 30 | 1 | 2 | 1 | 30 | 694.4659
457.2441 | Glycerophospholipids | Carbonyl | LPE | [M+H]+ | 214.0481 | 1 | 1 | 14 | 1 | 2 | 1 | 14 | 456.2362
681.4945 | Glycerophospholipids | Plasmalogen | PE O- | [M+H]+ | 213.0402 | 2 | 1 | 30 | 1 | 2 | 1 | 30 | 680.4866
667.5152 | Glycerophospholipids | Aliphatic | PE 2O- | [M+H]+ | 213.0402 | 2 | 0 | 30 | 1 | 2 | 1 | 30 | 666.5074
590.4996 | Glycerolipids | Carbonyl | DAG | [M+NH4]+ | 90.0317 | 2 | 2 | 30 | 1 | 2 | 2 | 30 | 572.4652 | PEROXYACID – PENDING TEST (2,2)
1066.9953 | Glycerolipids | Carbonyl | TAG | [M+NH4]+ | 89.0239 | 3 | 3 | 63 | 1 | 2 | 2 | 63 | 1048.9609
1064.9796 | Glycerolipids | Carbonyl | TAG | [M+NH4]+ | 89.0239 | 3 | 3 | 63 | 2 | 2 | 2 | 63 | 1046.9453
696.4816 | Glycerophospholipids | Carbonyl | PE | [M+H]+ | 213.0402 | 2 | 2 | 30 | 1 | 2 | 2 | 30 | 695.4737
458.2519 | Glycerophospholipids | Carbonyl | LPE | [M+H]+ | 214.0481 | 1 | 1 | 14 | 1 | 2 | 2 | 14 | 457.2441
682.5023 | Glycerophospholipids | Plasmalogen | PE O- | [M+H]+ | 213.0402 | 2 | 1 | 30 | 1 | 2 | 2 | 30 | 681.4945
668.523 | Glycerophospholipids | Aliphatic | PE 2O- | [M+H]+ | 213.0402 | 2 | 0 | 30 | 1 | 2 | 2 | 30 | 667.5152
15.9949
| -15.9949 | 1.0078